# 12U ENCLOSURE 19" CABINET 600X1000 FLOOR STANDING 12U SERVER RACK CABINET



##### DESCRIPTION

The **CAB-FE-12U-6100** is a small enclosure 12U Server Rack Cabinet, built for the housing of standard size 19” inch devices, the enclosure is 600mm width and 1000mm deep compatible to house regular Servers, SAN, UPS and other networking devices.

The cabinet is designed to fit in smaller places than the regular server enclosures, able to store under a desk or staircase. Designed through air ventilation, built in accordance to industrial standards , more fans or temperature modules can be added.  
  
The **CAB-FE-12U-6100** is a compact server enclosures/ 12U Server Rack Cabinet which can fit under a desk or in a corner, while still having all the features needed to store a high end server with accessories needed which would be expected by IT integrators. The cabinet includes through air ventilation which can be expanded according to requirements, 19-inch wide profiles together with front and rear adjustable profiles, thick gauges to carry the extra weight of a fully populated  
server, UPS or other electronic networking device.  
  
Complementing the design is the industry standard, 1000mm depth to  
facilitate almost all servers with the extra benefit of increased airflow. This has been  
further enhanced with the integral front meshed door to allow ambient air to  
circulate correctly and thus reduce server downtime. As with LMS Data enclosures, a  
fitted roof fan-tray provides effective removal of warm air from the enclosure  
and thus the LMS Data compact server enclosures are your ideal choice for mission  
critical applications - big or small.

##### SPECIFICATIONS

12U high 600W 1000D

ETSI 19” front/rear profiles (adjustable)  
Universal server design for all popular servers, UPS, SAN & more\*  
Up to 800Kg static load bearing  
Front mesh high venting door (lockable)  
Left/right hinged front/rear doors  
Removable side panels for easy access  
U-numbered uprights for rack-mount product alignment  
Multiple cable entry glands for exact power and cabling entry  
Fitted 4-way fan tray in raised and vented roof-space  
Fitted vented shelf  
Powder-coated RAL 9005 finish

##### TECHNICAL INFO

SKU/MPN: CAB-FE-12U-6100  
EAN: 8400800024473  
Dimensions: 600 (width) x1000 (depth) x720mm (height)

##### FILES

[**Datasheet - CAB-FE-12U-6100**](https://cdn.shopify.com/s/files/1/0071/2337/0043/files/CAB-FE-12U-6100.pdf?176)