# 18U ENCLOSURE 19" CABINET 600X1000 | 18U SERVER RACK CABINET FLOOR STANDING



##### DESCRIPTION

Redefining quality compact ergonomics for server and networking  
  
Looking to house your latest rackmount Server, SAN, UPS and other networking devices in a compact, universal server enclosure?

The new LMS Data **CAB-FE-18U-6100 |**18U Server Rack Cabinet Floor Standing is one of the most compact server enclosures on the market today, but still has all the features IT integrators come to expect

from its larger counterparts. Full 19-inch wide, front and rear adjustable profiles  
with a thicker gauge designed to carry the extra weight of a fully populated  
server and of course, full 1000mm depth to house high--performance  
servers but also allow adequate airflow.

Air-flow is further enhanced with front meshed door to allow ambient air  
to be allowed to enter the active equipment and of course an integral  
roof-fan tray will extract heated air safely away from the equipment, thus  
increasing available up time for your mission-critical applications.

##### SPECIFICATIONS

ETSI 19” front/rear profiles (adjustable)  
Universal server design for all popular servers, UPS, SAN & more\*  
Up to 800Kg static load bearing\*\*  
Front mesh high venting door (lockable)  
Left/right hinged front/rear doors  
Removable side panels for easy access  
U-numbered uprights for rack-mount product alignment  
Multiple cable entry glands for exact power and cabling entry  
Fitted 4-way fan tray in raised and vented roof-space  
Fitted vented shelf  
Powder-coated RAL 9005 finish

##### TECHNICAL INFO

SKU/MPN: CAB-FE-18U-6100  
EAN: 8400800022752  
Weight: 50.0 Kg  
Dimensions: 600x100x980mm

##### FILES

[Datasheet - CAB-FE-18U-6100](https://cdn.shopify.com/s/files/1/0071/2337/0043/files/CAB-FE-18U-6100_18u_EcoNetCab_Server_Enclosure_4b655c77-0346-427e-ae60-663865df42eb.pdf?v=1583416507)