# 18U ENCLOSURE 19" CABINET 600X600 |18U DATA CABINET FLOOR STANDING



##### DESCRIPTION

Q u a l i t y  A s s e m b l e d , C o m p e t i t i v e l y  P r i c e d  
  
Need a well priced but quality built data and telecoms

18U Data Cabinet Floor standing for your installation or project?  
  
With the assurance of the product line being expertly assembled in the UK to  
the same attention of the rest of the LMS Data EcoNetCab range, the ValuCabs  
offer all the cabinet functionality you’ve come to expect from LMS Data (18U Data Cabinet) including

adjustable 19-inch uprights remove side panels, front and rear (reversible) lockable  
doors and a multitude of cable entry areas.  
  
Ideal for telecom, networking, and mixed media applications including CCTV,  
broadcast and other data applications, the ValuCab range starts at just **12U**, right up  
to **47U** for larger installations. A choice of standard 600mm and 800mm wide (free  
cable management on the 800mm version) and a choice of either industry-standard  
600mm deep, or deeper 800mm for larger equipment deployments.

##### SPECIFICATIONS

18U high 600W 600D  
ETSI 19” front/rear profiles, adjustable  
Lockable vented glass door, reversible  
Removable side panels, rear lockable door  
Ideal for VoIP, CCTV, Networking and CCTV  
Supplied with Castors and Jacking Feet  
UK Assembled and quality assured

**TECHNICAL INFO**

SKU/MPN: CAB-FE-18U-66NA  
EAN: 8400800033161  
Weight: 50 kg  
Dimensions: 600(width) x 600(depth) x 980mm(height)

**FILES**

[Datasheet - CAB-FE-18U-66NA](https://cdn.shopify.com/s/files/1/0071/2337/0043/files/LMS_Data_ValuCabs_18-22U_Version_2.1_7a11c528-ae16-4836-afc5-217a2c3176a2.pdf?v=1583408389)