# 18U ENCLOSURE 19" CABINET 600X800 FLOOR STANDING DATA RACK - ECO NETCAB



##### DESCRIPTION

##### Redefining quality ergonomics for your telco, networking & PBX needs Cost-effective and quality enclosures for your structured cabling, networking and broadcast projects. The LMS Data EcoNetCab is the de-facto standard in offering great choice and quality enclosure solutions, be it structured cabling for your copper or fibre networking, LAN or WAN networking deployment or broadcast A/V for companies of all sizes. Designed for the installer and IT manager, all enclosures come with useful features to make your installation that much easier, together with bundled free accessories mean you’ve got everything you need to get your new installation up an running, with minimal fuss or downtime.

##### SPECIFICATIONS

18U high 600W 800D  
ETSI 19” front/rear profiles (adjustable)  
Removable side/rear panels, RAL 9005  
Front tempered glass door (lockable)

**TECHNICAL INFO**

 SKU/MPN: CAB-FE-18U-68

EAN: 8400800015921

Weight: 50kg

Dimensions:  600(width) x 800(depth) x 980mm(height)

**FILES**

[Datasheet - CAB-FE-18U-68](https://cdn.shopify.com/s/files/1/0071/2337/0043/files/LMS_Data_EcoNetCab_General_Enclosures_v1_0.pdf?v=1583409209)