# 27U ENCLOSURE 19" CABINET 800X800 FLOOR STANDING DATA RACK - ECO NETCAB



##### DESCRIPTION

Enterprise Level Quality With A Competitive Edge

Quality and flexibility with bundled accessories to help make your enterprise level installations much more cost-effective.  
  
The new LMS Data EcoNetCab range of Enterprise-level data cabinets, all of which are professionally assembled in the UK come with the quality and features you’ve come to expect from LMS Data. Available for a choice of professional installation scenarios, built from the ground up with quality alloys, robust powder coating and of course features to make pre and post installation easy, including adjustable front and rear ETSI 19-inch mount posts, gland plates, removable side panels and left/right hinged front safety glass door and solid rear door.  
  
Supplied as standard with a host of fitted accessories including fitted fan tray, front cable management tray, vented shelf, castors and jacking feet together with M6 captive nut and bolt kit. Saving you both time and money for all your professional data installations.

##### SPECIFICATIONS

27U high 800W 800D

ETSI 19” front/rear profiles, adjustable

Lockable vented glass door, reversible

Fitted 4-way fan tray

Removable side panels, rear lockable door

Integral Front Cable Management fitted

Ideal for SME, IT Rooms, PBX & Broadcast

Fitted castors and jacking feet (4))

UK Assembled and quality assured

##### TECHNICAL INFO

SKU/MPN: CAB-FE-27U-88

EAN: 8400800015976

Weight: 100kg

Dimensions: 800(width) x800(depth) x1370mm(height)

##### FILES

[Datasheet - CAB-FE-27U-88](https://cdn.shopify.com/s/files/1/0071/2337/0043/files/LMS_Data_EcoNetCab_Enterprise_Series_27-36u_7c5a9bde-9665-44c4-aafc-b17dc5581632.pdf?v=1584529939)