### 2 Way 19" SoHo Horizontal Mounted Surge Protected PDU - UK Sockets (PDU-2WS-H-SP-SOHO)



# **Description:**

# The LMS Power **PDU-2WS-H-SP-SOHO** is a high-quality 10-inch Rackmount PDU (**P**ower **D**istribution **U**nit) that simply fits within the compact, 10-inch SoHo (Small Office Home Office) range of wall cabinets. Complete with surge protection to help smooth our electrical spikes to Ethernet Switches, VoIP gateways and DVRs, its a must-have accessory for 10-Inch cabinets Robust, alloy design complete with rackmount brackets fitted, high-quality Neon Switch and of course UK output sockets together with a high quality, BSI-fitted 13 Amp UK plug.

# **Key Features:**

Standard UK 3-Pin power outlets for your appliances  
  
1U high means, 10" Wide for the small 10" SoHo cabinet  
  
Neon On/Off Rocker switch to prevent accidental turn off   
  
Backed up by LMS Power's exclusive 3-year warranty

# **Applications:**

Create instant power feeds to your data, telecom or server cabinets  
  
Provide effective power for cabinet cooling fans, UPS systems  
  
Ideal as stand-alone trailing sockets outside the cabinet

# **Product Code:**

Part Number: PDU-2WS-H-SP-SOHO  
  
EAN: 8400800035899

Weight: 0.5Kg approx

# **Technical Specifications:**

Warranty                 LMS Data 3-Year Warranty  
                         
Chassis                   1U 10-inch with mounting brackets   
  
Output Sockets      2 UK 3-PIN Sockets

Power Input            Fitted UK 3PIN BSI Plug 13 Amp  
  
Flex Length             2.5 metres (approx)  
  
Power Control        On/Off Rocker Switch (illuminated)

# **Supplied With:**

PDU-2WS-H-SP-SOHO   2 Way Horizontal PDU  
  
10-inch cabinet brackets (Fitted)  
*\* Specifications and product design are subject to change. E&OE.*

Looking for a costeffective and electrically surged-protected 10-inch wide PDU for SoHo Wall Cabinets or other 10-inch wide frames or enclosures? Introducing the new PDU-2WS-SP-SOHO surge protected PDUs which a must-have accessory the the LMS Data range of 10-inch SoHo wall enclosures, offering effective and of course ‘clean’ power to your installed LAN switches, PBX or other electrical sensitive devised. Durable in design, featuring standard, dual UK Power sockets with integral, illuminated rocker on/off switch together with surge protection and associated LED illumination for visual confirmation of input power protection. Fitted with a generous 2.5 metre (approx.) power cable, terminated with a quality, 13 Amp UK plug, the PDU-2WS-SP-SOHO is ideal for your 10-inch SoHo enclosure installations.

# **specifications:**

Standard 1U, 10-inch wide (25.3cm with brackets)

Dual UK-socketed 13A power outlets

Illumination On/Off power-input rocker switch

Integral electrical power input surge protection

Supplied rackmount brackets (1 pair)

On-board surge protection confirmation LED

Generous 2.5 m (approx) flex with fitted UK 13-amp Plug

Robust aluminium design - rear earthing stud

Ideal for the LMS Data 10-inch SoHo Cabinet range and more

Dimensions: 25.3cm (W) x 4.5cm (H) x 4.5cm (D)