# 15U ENCLOSURE 19" CABINET 600X800 FLOOR STANDING DATA RACK - VALUCAB



##### DESCRIPTION

##### Small-Scale, Quality Networking Deployment - Competitively Priced Looking to deploy a small-height data or telco cabinet but need theadvantages of a full height cabinet but don’t need a fitted fan tray?The newly designed ValuCab **12U** and **15U** floor-standing cabinets are ideal formany installations that need all the advantages for full width, 19-inch racking,full depth, adjustable mount posts but does not include a fitted fan tray, thus keepingyour costs to a minimum. Of course our other accessories including castors, jackingfeet and M6 cage nuts and bolts.With more networking, telco, PBX and broadcast equipment becoming morecompact and of course thinking all installations do not require a high,towering **42U** cabinet for example, the new ValuCab **12U** and **15U** range areideal for IT rooms, PBX switching centres, 7SME business applications, but without theextra height clearance needed.Superb-build quality of course is assured, multiple cable entries, togetherwith left/right hinged safety-glass door as standard, together with a hard-wearingblack, powder-coated finish and assembled here in the UK.

##### SPECIFICATIONS

15U high 600W 800D
ETSI 19” front/rear profiles, adjustable
Lockable vented glass door, reversible
Removable side panels, rear lockable door
Ideal for SME, IT Rooms, PBX & Broadcast
Fitted castors and jacking feet (4)
UK Assembled and quality assured

**TECHNICAL INFO**

SKU/MPN: CAB-FE-15U-68NA
EAN: 8400800034250
Weight: 50 Kg
Dimensions: 600(width) x800(depth) x860mm(height)

**FILES**

[Datasheet - CAB-FE-15U-68NA](https://cdn.shopify.com/s/files/1/0071/2337/0043/files/LMS_Data_ValuCab_12-15U_Small-Scale_Floor_Series_v1.01.pdf?v=1583235469)