# 27U ENCLOSURE 19" CABINET 800X1000 FLOOR STANDING SERVER RACK - ECO NETCAB



##### DESCRIPTION

Redefining quality ergonomics for your server and networking needs

Looking to house your rack-mount server, SAN, UPS or other networking devices?

Rack-mount servers and computers are becoming more popular in all sizes of
business, both public and private sector. LMS Data are market leaders in provide
high-quality, best-in-class ergonomics and security for all your server, networking
and broadcasting needs and the new

EcoNetCab server range continues this tradition.
Offering a range of class-leading heights, ideal from the smallest IT ‘closet’
up to large-scale enterprise and data centres with the option for secure access,
co-containment and multiple door option fitments, the LMS Data EcoNetCab is your
ideal partner for your server, SAN and rack-mount UPS containment.

##### SPECIFICATIONS

ETSI 19” front/rear profiles (adjustable)
800Kg static load bearing
Front mesh high venting door (lockable)
Left or right hinged front/rear doors
Removable side panels for easy access
U-numbered uprights for alignment
Multiple cable entry gland plates
Powder-coated RAL 9005 finish

##### TECHNICAL INFO

SKU/MPN: CAB-FE-27U-8100

EAN: 8400800015990

Weight: 100.0 Kg

Dimensions: 800x1000x1370mm

##### FILES

[Datasheet - CAB-FE-27U-8100](https://cdn.shopify.com/s/files/1/0071/2337/0043/files/LMS_Data_EcoNetCab_Server_Specifications_V1.1_6ee4e3b8-395a-460f-b32e-991dced7f59e.pdf?v=1584535655)