# 47U ENCLOSURE 19" CABINET 800X1000 FLOOR STANDING SERVER RACK - ECO NETCAB



##### FEATURES

**\*FLAT PACK ONLY\***

• 19"
• Colour : Black (Powder-coated RAL 9005)
• Dimensions: 800x1000x2320mm (inc.castors)
• Up to 800Kg static load bearing
• Front mesh high venting door (lockable)
• Left/right hinged front/rear doors
• Removable side panels for easy access
• U-numbered uprights for rack-mount product alignment
• Multiple cable entry glands for exact power and cabling entry
• Fitted 4-way fan tray in raised and vented roof-space
• Fitted vented shelf

• Supplied with: Standard/Shipping Castors (Fitted): Set of 4 adjustable Jacking Feet (Supplied): Standard M6 Cage Nuts and Bolts (Supplied): Hex Adjusting Key (Supplied)

**\*\*\* NETBIT ONLY DELIVERS THESE CABINETS USING SAME DAY DELIVERY SERVICE - PLEASE CALL FOR DELIVERY QUOTE \*\*\***

##### DOCUMENTS

[﻿Specification Sheet](https://cdn.shopify.com/s/files/1/0071/2337/0043/files/LMS_Data_EcoNetCab_Server_Specifications_V1.1_a1bde756-a554-48b5-bfd1-9f291ab7620e.pdf?17852315434850220980) (PDF)