# 

### 25 Port 1U Rackmount CAT3/TELCO 4-Pin Patch Panel (PPAN-25-T-4P)



# Description:

The LMS Data PPAN-25-T-4P is 25 Port enhanced CAT3 and Telecommunications Patch Panel for working in low bandwidth applications of that of legacy PABX Telco applications.

Fully certified to CAT3/Telco standards allowing typical voice call cables to be terminated and thus patched via the 4-PIN front connection ports.

Long-life, nickel plated female ports are coupled with a vertical designed Krone(tm) IDC terminal IDC together with rear cable management bar and tabs.

# Key Features:

* Certified CAT3/TELCO 25 Way Patch Panel
* Standard 4-Pin Ports with Krone(tm) IDC Punchdown
* 1u High means it fits in the smallest of data cabinets
* Part of the Synthesis 25-Year Warranty Solution

# Applications:

* Office, Education and Home Structured Cabling Installs
* Ideal for Gigabit Ethernet (1000Mbps) Data Networks
* Create fault tolerant LANs by simply patching ports

# Product Code:

* Part Number: PPAN-50-T-4P
* EAN: 8400800032225
* Weight: 2 Kg approx.

# Technical Specifications:

* Port Count：50 Ports UTP
* Dimensions：2U 19-Inch Design Format
* Design：6-Pin Telco Ports, Numbered
* Performance：ISO/IEC-11801
* Ports/IDC Connects：Nickel and Phosphor Bronze
* Port Identification：Numbered
* Fixings：Supplied M6 Nuts and Bolts

\* Specifications and product design are subject to change. E&OE.