# 

### 25 Port 1U Rackmount CAT3/TELCO 6-Pin Patch Panel (PPAN-25-T)



# Description:

# The LMS Data PPAN-25-T is 25 Port enhanced CAT3 and Telecommunications Patch Panel for working in low bandwidth applications of that of legacy PABX Telco applications.

# Fully certified to CAT3/Telco standards allowing typical voice call cables to be terminated and thus patched via the 6-PIN front connection ports.

# Long-life, nickel plated female ports are coupled with a vertical designed Krone(tm) IDC terminal IDC together with rear cable management bar and tabs.

# Key Features:

* Certified CAT3/TELCO 25 Way Patch Panel
* Standard 6-Pin Ports with Krone(tm) IDC Punchdown
* 1u High means it fits in the smallest of data cabinets
* Part of the Synthesis 25-Year Warranty Solution

# Applications:

* Office, Education and Home Structured Cabling Installs
* Ideal for Gigabit Ethernet (1000Mbps) Data Networks
* Create fault tolerant LANs by simply patching ports

# Product Code:

* Part Number: PPAN-25-T
* EAN: 8400800013279
* Weight: 1 Kg approx.

# Technical Specifications:

* Port Count：25 Ports UTP
* Dimensions：1U 19-Inch Design Format
* Design： 6-Pin Telco Ports, Numbered
* Performance：ISO/IEC-11801
* Ports/IDC Connects：Nickel and Phosphor Bronze
* Port Identification：Numbered
* Fixings： Supplied M6 Nuts and Bolts

\* Specifications and product design are subject to change. E&OE.